## Compilation
Instruction open EXCEL
order @ > mail@ligaair.ch < |  |  |  | Save document under new name completely open file
Name: | …… | Install this type of box more space |  | - Area ① - ⑫ | - Unit Price | € excl. Vat
Agro 70mm, E-Nr- 372501639
Commision: | ……
Date: | 2023-02-28
LIGA.AIR / Services
NETWORK MAKING |  | Create network evolution, basic programming, release options | € | 1 | 200 | 200
DELIVEERD PARTS |  | Read in modules on CASAMBI APP program | € | 0 | 20 | 0
EXTERNIAL PARTS |  | Read in external CASAMBI ready devices e.g. luminaires | € | 0 | 20 | 0
TOTAL Services | [5 empty] | 200
LIGA.AIR / Light modules
LIGA.AIR. | DIM.CBU-TED | Load dimming up to 150W see data sheet | € | 0 | 92.85 | 0
LIGA.AIR. | DIM.T13.S | Load dimming up to 150W see data sheet | € | 0 | 140 | 0
LIGA.AIR. | DIM.CRD300 | Load dimming up to 300W with 1 push button | € | 0 | 269.27 | 0
LIGA.AIR. | DIM.CRD.400 | Load dimming up to 400W with 1 push button | € | 0 | 278.55 | 0
LIGA.AIR. | UD.700.C | Control module for UD.700.C | € | 0 | 200 | 0
Art. Nr. | SELI800.26.506 | Load dimmer DU.700.C / 1-10V / DALI / slot for 2 x 700W CASAMBI | € | 0 | 480 | 0
LIGA.AIR. | DALI.1.K.240 | DALI broudcast default up to 50 modules (profiled) | € | 0 | 170 | 0
LIGA.AIR. | DALI.240 | DALI with cabel broudcast default up to 50 modules (profiled) | € | 0 | 180 | 0
LIGA.AIR. | DALI.1T.PIC | DALI broudcast default up to 30 modules (profiled) | € | 0 | 175 | 0
LIGA.AIR. | DALI 1+2 Pico | 2 x DALI broudcast default up to 30 modules (profiled) | € | 0 | 200 | 0
LIGA.AIR. | DALI.1K.4.T | DALI broudcast default up to 50 modules (profiled 1-4 button active) | € | 0 | 180 | 0
LIGA.AIR. | 4.DALI.4.T | 4 DALI broudcast default up to 100 modules 200mA (profiled) & each 1 button pro DALI | € | 0 | 550 | 0
LIGA.AIR. | DALI.1.M+ | DALI module IP66 up to 50 modules (profiled) | € | 0 | 180 | 0
LIGA.AIR. | DOSE.1M | Box IP 66 black UV resistant 93x93x62mm, stuffing black, 2 pcs. swing clamps | € | 0 | 50 | 0
LIGA.AIR. | CBU-ASD | DALI 1 device (profiled) | € | 0 | 102.14 | 0
LIGA.AIR. | CBU-A2D | 1-10V or DALI up to 1 device (profiled) | € | 0 | 102.14 | 0
LIGA.AIR. | CBU-PWM4 | RGBW max 6A | € | 0 | 129.99 | 0
LIGA.AIR. | PWM.1.2.BT.IW | LED tapes 1 or 2 channel | € | 0 | 181 | 0
LIGA.AIR. | PWM.4.12-24+ | LED ribbons 4 channel RGBW | € | 0 | 160 | 0
LIGA.AIR / Element
LIGA.AIR. | REL.240 | Relay 10 A Switched | € | 0 | 125 | 0
LIGA.AIR. | OD.2REL240+ | Relay 10 A 2 Switched + 1 pushbutton | € | 0 | 200 | 0
LIGA.AIR. | REL.4T.240 | Relay 10 A Switched + 4 pushbuttons (profiled 1-4 pushbuttons active) | € | 0 | 160 | 0
LIGA.AIR. | 2.REL.240 | Relay 10A, 2 changeover switches potential free (profiled) | € | 0 | 160 | 0
LIGA.AIR. | REL240.T11W | Relay plugged T11 & 1-fold push button white | € | 0 | 175 | 0
LIGA.AIR. | REL240.T11S | Relay plugged T11 & 1-way pushbutton black | € | 0 | 175 | 0
LIGA.AIR. | REP.240.EURO | Repeater Euro plug | € | 0 | 85 | 0
LIGA.AIR. | REP.BATT+ | Backup Repeater carge 3h up to 15h power | € | 0 | 130 | 0
LIGA.AIR. | REP.240 | Repeater | € | 0 | 85 | 0
LIGA.AIR. | OD.REP.240+ | Reparter Antenne abgesetzt | € | 0 | 190 | 0
LIGA.AIR. | REP SOLAR | Repeater Solar | € | 0 | 430 | 0
LIGA.AIR. | STO.REL+2T | Blind relay with 2 pushbuttons | € | 0 | 190 | 0
LIGA.AIR. | STO.REL.240 | Blind relay with cable 15cm | € | 0 | 190 | 0
LIGA.AIR. | 4 STOREL+8T | 4-fold DIN blind relay with 8 pushbuttons | € | 0 | 550 | 0
LIGA.AIR. | 2X4REL.4.T.240 | Relay 10A 2 normally open and 2 changeover switches (profiled) 2 IKON | € | 0 | 410 | 0
LIGA.AIR. | 3x2REL.3T | Relay 10A 6 normally open and 2 changeover(profiled) 1 IKON | € | 0 | 440 | 0
LIGA.AIR. | 8.REL.240 | Relay 10A 3 normally open and 2 changeover switches (profiled) * IKON | € | 0 | 340 | 0
LIGA.AIR / Sensors
LIGA.AIR. | SP.240V.W | Swisspir white | € | 0 | 165 | 0
LIGA.AIR. | SP.BAT.W | Swisspir battery 2 x AA white | € | 0 | 165 | 0
LIGA. | SWISSPIR.AP.W | AP Housing white L:74, W:74, H: 54mm | € |  | 32 | 0
LIGA. | SWISSPIR.ABD.W | Cover plate white L.88, W:88mm | € |  | 25 | 0
LIGA.AIR. | SP.240V.G | Swisspir grey | € | 0 | 165 | 0
LIGA.AIR. | REL240.T11S | Swisspir battery 2 x AA grey | € | 0 | 165 | 0
LIGA. | SWISSPIR.AP.G | AP Housing grey L:74, W:74, H: 54mm | € |  | 36 | 0
LIGA. | SWISSPIR.ABD.G | Cover plate grey L.88, W:88mm | € |  | 28 | 0
LIGA.AIR. | SP.240V.S | Swisspir black | € | 0 | 165 | 0
LIGA.AIR. | SP.BAT.S | Swisspir battery 2 x AA black | € | 0 | 165 | 0
LIGA. | SWISSPIR.ABD.S | Cover plate black L.88, W:88mm | € |  | 36 | 0
LIGA. | SWISSPIR.AP.S | AP Housing black L:74, W:74, H: 54mm | € |  | 28 | 0
LIGA.AIR. | SP.CUBE.W | Cube Design Motion Detector white 3V DC TYPE AA | € | 0 | 190 | 0
LIGA.AIR. | SP.CUBE.S | Cube Design Motion Detector Black 3V DC TYPE AA | € | 0 | 190 | 0
LIGA.AIR. | SP.CUBE.AE | Cube Design Motion Detector ALU elox 3V DC TYPE AA | € | 0 | 200 | 0
LIGA.AIR. | CUBE.USB.W | Cube Design Motion Detector white USB C | € | 0 | 180 | 0
LIGA.AIR. | CUBE.USB.S | Cube Design Motion Detector Black USB C | € | 0 | 180 | 0
LIGA.AIR. | CUBE.USB.AE | Cube Design Motion Detector ALU elox USB C | € | 0 | 190 | 0
LIGA.AIR. | PS.USB.S | Power supply 240V / USB C 1'500mm cable black | € | 0 | 24 | 0
LIGA.AIR. | SP.CUBE.H.E | Cube design motion detector wood oak | € | 0 | 260 | 0
LIGA.AIR. | SP.CUBE.H.N | Cube design motion detector wood walnut | € | 0 | 260 | 0
LIGA.AIR. | AIR.SP.ADA.W | Swisspir Adapter Global Trac white 3 phase rail | € | 0 | 190 | 0
LIGA.AIR. | AIR.SP.ADA.G | Swisspir adapter Global Trac gray 3 phase rail | € | 0 | 190 | 0
LIGA.AIR. | AIR.SP.ADA.S | Swisspir Adapter Global Trac black 3 phase rail | € | 0 | 190 | 0
LIGA.AIR / Switch modules
LIGA.AIR. | TAST4.240+ | Button module 240V 4-fold button | € | 0 | 150 | 0
LIGA.AIR. | TAST8.240+ | Button module 240V 8-fold button | € | 0 | 190 | 0
LIGA.AIR. | TAST4.SW4.240+ | Button module 4 Bush and 4 lake X Press UP/DOWN +/- | € | 0 | 190 | 0
LIGA.AIR. | SM.BAT.W | Magnetic switch with battery button cell white | € | 0 | 125 | 0
LIGA.AIR. | SM.BAT.S | Magnetic switch with battery button cell black | € | 0 | 125 | 0
LIGA.AIR. | SV.BAT.W | Vibration switch with battery button cell white | € | 0 | 125 | 0
LIGA.AIR. | SV.BAT.S | Vibration switch with battery button cell black | € | 0 | 125 | 0
LIGA.AIR. | 374740000 | 2 fold wireless pushbutton Bluetooth Feller EDIZIOdue battery-free white | € | 0 | 140 | 0
LIGA.AIR. | 374750000 | 4 fold wireless pushbutton Bluetooth Feller EDIZIOdue battery-free white | € | 0 | 150 | 0
LIGA.AIR. | FERB.S | Remote control black | € | 0 | 150 | 0
LIGA.AIR. | BAT.TAST.W | X Press battery push button white | € | 0 | 210 | 0
LIGA.AIR. | BAT.TAST.S | X Press battery push button black | € | 0 | 210 | 0
LIGA.AIR. | WRD.24+ | Weather station excl. power supply 12-24V DC (wind, rain and sun) | € | 0 | 700 | 0
LIGA.AIR. | WRD.PS.240 | X Press battery push button black | € | 0 | 130 | 0
LIGA.AIR / special parts (selection must be discussed with technician LICHTTEAM)
LIGA.AIR. | CBU-DCS | Integrate Dali Controller / Gateway KNX | € |  | 102.14 | 0
LIGA.AIR. | S.KABEL.1M | Sensor extension cable 1m | € |  | 18 | 0
LIGA.AIR. | S.KABEL.3M | Sensor extension cable 3m | € |  | 25 | 0
LIGA.AIR. | S.KABEL.10M | Sensor extension cable 10m | € |  | 43 | 0
LIGA.AIR. | S.KABEL.20M | Sensor extension cable 20m | € |  | 75 | 0
INST | 323237000 | Edizio 6-way pushbutton white | € |  | 131.54 | 0
INST | 323236000 | Edizio 4-way pushbutton white | € |  | 111.76 | 0
LIGA.AIR. | TAST4.12.24 | 12-24V AC/DC | € |  | 150 | 0
LIGA.AIR. | REL.12-24 | 12-24V AC/DC | € |  | 125 | 0
LIGA.AIR. | SP.12-24V.W | 12-24V AC/DC white | € |  | 165 | 0
LIGA.AIR. | SP.12-24V.G | 12-24V AC/DC grey | € |  | 165 | 0
LIGA.AIR. | SP.12-24V.S | 12-24V AC/DC black | € |  | 165 | 0
LIGA.AIR. | 4IN.8OUT.240 | programmable to 5 dif. types l:38mm, w:38mm, h:27mm, wires 150mm (profiled) | € |  | 170 | 0
LIGA.AIR. | DMX.24 | DMX Master Module CASAMBI to DMX | € |  | 220 | 0
LIGA.AIR. | OUT.DMX.24 | DMX master module 4 inputs DMX to CASAMBI | € |  | 220 | 0
LIGA.AIR.
TOTAL LIGA.AIR CASAMBI products |  |  |  | 0 | € | 0
TOTAL LIGA.AIR CASAMBI services |  |  |  |  | € | 200
TOTAL LIGA.AIR CASAMBI products & services |  |  |  |  | € | 200

## Light modules
……
……
2023-02-28
LIGA.AIR / Light modules
name |  | DIM.CBU-TED | DIM.T13.S | DIM.CRD300 | DIM.CRD.400 | SELI800.26.506 | UD.700.C | DALI.1.K.240 | DALI.240 | DALI.1T.PIC | DALI 1+2 Pico | OD.DALI240+ | DALI.1K.4.T | 4.DALI.4.T | DALI.1.M+ | DOSE.1M | CBU-ASD | CBU-A2D | CBU-PWM4 | PWM.1.2.BT.IW | PWM.4.12-24+
described |  | 150W / VA | 150W / VA | 300W / VA | 400W / VA | 2 x 700W | Casambi Module | up to 50 modules | up to 50 modules | up to 25 modules | up to 25 modules | bis 25 Geräte 1 Taster | up to 25 modules 4 buttons | up to 4x25 modules 4 buttons |  | Stopfbüchse | 1 module DALI or 1-10V | 1 module DALI or 1-10V | RGBW max 6A | 12/24V 100W | 12/24V 400W
profiles see scheme |  | Phase cut- Section | Phase cut- Section | Phase cut- Section | Phase cut- Section | Phase cut- Section | incl 4 buttons inputs | profiled | profiled | profiled | profiled | profiliert | profiled | profiled | profiliert | 2 x Schlauchschelle | profiled | profiled | profiled | LED 1 or 2 Channel | LED Bänder 4 Kanal
software |  | CLASSIC + EVOLUTION | CLASSIC + EVOLUTION | CLASSIC + EVOLUTION | CLASSIC + EVOLUTION | DALI 1-10V Casambi | CLASSIC + EVOLUTION | CLASSIC + EVOLUTION | CLASSIC + EVOLUTION | CLASSIC + EVOLUTION | CLASSIC + EVOLUTION | EVOLUTION | CLASSIC + EVOLUTION | CLASSIC + EVOLUTION | EVOLUTION |  | CLASSIC + EVOLUTION | CLASSIC + EVOLUTION | CLASSIC + EVOLUTION | CLASSIC + EVOLUTION | EVOLUTION
Area number | floor area name
dimensions |  | 40 x 37 x 14mm | 1m 40x40x22mm | 45 x 48 x 20mm | 102x57x30mm | 105x100x60mm | 48x30x16mm | 38 x 38 x 26mm | 38 x 38 x 26mm | 61 x 27 x 21mm | 80 x 27 x 21mm |  | 44 x 44 x 23mm | DIN 107x91x62mm | 50 x 50 x 25mm |  | 57 x 36 x 22mm | 76 x 26 x 23mm | 73x30x18mm | Ø 55mm H=22mm | 44 x 44 x 23mm
① | Area name 1
② | Area name 2
③ | Area name 3
④ | Area name 4
⑤ | Area name 5
⑥ | Area name 6
⑦ | Area name 7
⑧ | Area name 8
⑨ | Area name 9
⑩ | Area name 10
⑪ | Area name 11
⑫ | Area name 12
TOTAL |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Element
……
……
2023-02-28
LIGA.AIR / Element
name |  | REL.240 | OD.2REL240+ | REL.4T.240 | 2.REL.240 | REL240.T11W | REL240.T11S | REP.240.EURO | REP.BATT+ | REP.240 | OD.REP.240+ | REP SOLAR | STO.REL+2T | STO.REL.240 | 4 STOREL+8T | 2X4REL.4.T.240 | 3x2REL.3T | 8.REL.240
described |  | 240V 10A | 240V 10A | 240V 10A | 240V 10A | 240V 10A | 240V 10A | Repeater plug | Repeater backup | Repeater | Repeater | Repeater | blinds module + 2 buttons | blinds module | blinds module | 240V 10A | 240V 10A | 240V 10A
profiles see scheme |  | switching relays | Schaltrelais + Antenne | switching relays +4 button | change switch 2 x profiled | switching relays | switching relays | [5 empty] | on / off / 2 buttons | on / off | 4 on/ off/ 8 buttons | 8 switching relays 4 buttons | 6 Schaltrelais 4 Taster | 8 switching relays prifiled
software |  | CLASSIC + EVOLUTION | EVOLUTION | CLASSIC + EVOLUTION | CLASSIC + EVOLUTION | CLASSIC + EVOLUTION | CLASSIC + EVOLUTION | CLASSIC + EVOLUTION | CLASSIC + EVOLUTION | CLASSIC + EVOLUTION | EVOLUTION | CLASSIC + EVOLUTION | CLASSIC + EVOLUTION | CLASSIC + EVOLUTION | CLASSIC + EVOLUTION | CLASSIC + EVOLUTION | EVOLUTION | CLASSIC + EVOLUTION
Area number | floor area name
dimensions |  | 32 x 32 x 20mm | 44 x 44 x 23mm | 44 x 44 x 23mm | 50 x 50 x 25mm | 95 x 30 x 28mm / 1m | 95 x 30 x 28mm / 1m | 38 x 39 x 32mm | 38 x 39 x 32mm | 35 x 35 x 22mm. | 44 x 44 x22mm | 190x250x50mm | 50 x 50 x 25mm | 50 x 50 x 25mm | DIN 107x91x62mm | DIN 107x91x62mm | DIN 107x91x62mm | DIN 107x91x62mm
① | Area name 1
② | Area name 2
③ | Area name 3
④ | Area name 4
⑤ | Area name 5
⑥ | Area name 6
⑦ | Area name 7
⑧ | Area name 8
⑨ | Area name 9
⑩ | Area name 10
⑪ | Area name 11
⑫ | Area name 12
TOTAL |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Sensors
……
……
2023-02-28
LIGA.AIR / Sensors
name |  | SP.240V.W | SP.240V.G | SP.240V.S | SP.BAT.W | SP.BAT.G | SP.BAT.S | SP.CUBE.W | SP.CUBE.S | SP.CUBE.AE | CUBE.USB.W | CUBE.USB.S | CUBE.USB.AE | PS.USB.S | SP.CUBE.H.E | SP.CUBE.H.N | AIR.SP.ADA.W | AIR.SP.ADA.G | AIR.SP.ADA.S
described |  | motion detector | motion detector | motion detector | battery motion detector | battery motion detector | battery motion detector | battery motion detector | battery motion detector | battery motion detector | USB C | USB C | USB C | T11 / USB C | battery motion detector | battery motion detector | busbar 3 phase | busbar 3 phase | busbar 3 phase
profiles see scheme |  | white Ral 9010 | grey RAL 7021 | black RAL 9005 | white Ral 9010 | grey RAL 7021 | black RAL 9005 | white RAL 9010 | black RAL 9005 | ALU elox. | white RAL 9010 | black RAL 9005 | ALU elox. | black | wood bright | wood dark | white | grey | black
software |  | CLASSIC + EVOLUTION | CLASSIC + EVOLUTION | CLASSIC + EVOLUTION | only EVOLUTION | only EVOLUTION | only EVOLUTION | only EVOLUTION | only EVOLUTION | only EVOLUTION | only EVOLUTION | only EVOLUTION | only EVOLUTION |  | only EVOLUTION | only EVOLUTION | CLASSIC + EVOLUTION | CLASSIC + EVOLUTION | CLASSIC + EVOLUTION
Area number | floor area name
dimensions |  | L=48 Ø 38 x Ø 25mm | L=48 Ø 38 x Ø 25mm | L=48 Ø 38 x Ø 25mm | L=48 Ø 38 x Ø 25mm | L=48 Ø 38 x Ø 25mm | L=48 Ø 38 x Ø 25mm | 70 x 30 x 70mm | 70 x 30 x 70mm | 70 x 30 x 70mm | 70 x 30 x 70mm | 70 x 30 x 70mm | 70 x30 x 70mm | 1'500mm | 70 x 32 x 72mm | 70 x 32 x 72mm | L=85 Ø 32mm | L=85 Ø 32mm | L=85 Ø 32mm
① | Area name 1 | [18 empty] | 1 | 1 | 1
② | Area name 2 | [18 empty] | 1 | 1 | 1
③ | Area name 3 | [18 empty] | 1 | 1 | 1
④ | Area name 4 | [18 empty] | 1 | 1 | 1
⑤ | Area name 5 | [18 empty] | 1 | 1 | 1
⑥ | Area name 6 | [18 empty] | 1 | 1 | 1
⑦ | Area name 7 | [18 empty] | 1 | 1 | 1
⑧ | Area name 8 | [18 empty] | 1 | 1 | 1
⑨ | Area name 9 | [18 empty] | 1 | 1 | 1
⑩ | Area name 10 | [18 empty] | 1 | 1 | 1
⑪ | Area name 11 | [18 empty] | 1 | 1 | 1
⑫ | Area name 12 | [18 empty] | 1 | 1 | 1
TOTAL |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12

## Switch modules
……
……
2023-02-28
LIGA.AIR / Switch modules
name |  | TAST4.240+ | TAST8.240+ | TAST4.SW4.240+ | SM.BAT.W | SM.BAT.S | SV.BAT.W | SV.BAT.S | 374740000 | 374750000 | FERB.S | BAT.TAST.W | BAT.TAST.S | WRD.24+ | WRD.PS.240
described |  | 4x button module | 8x button module | 2x4 button module | magnetic switch | magnetic switch | vibration switch | vibration switch | 2x Bluetooth Edizio | 4x Bluetooth Edizio | remote control black | button panel white | button panel black | Wetterstation | Wetterstation
profiles see scheme |  |  |  |  | battery mode white | battery mode black | battery mode white | battery mode black | 9010 white | 9010 white | battery 2 x AAA | battery butten cell | battery butten cell
software |  | CLASSIC + EVOLUTION | CLASSIC + EVOLUTION | EVOLUTION | only EVOLUTION | only EVOLUTION | only EVOLUTION | only EVOLUTION | CLASSIC + EVOLUTION | CLASSIC + EVOLUTION | CLASSIC + EVOLUTION | CLASSIC + EVOLUTION | CLASSIC + EVOLUTION | EVOLUTION | EVOLUTION
Area number | floor area name
dimensions |  | 35 x 35 x 22mm | 44 x 44 x 23mm | 44 x 44 x 23mm | 36x70x22mm | 36x70x22mm | 36x70x22mm | 36x70x22mm | 60x60mm | 60x60mm | 126 x 42 x 17mm | 90 x 90 x 12mm | 90 x 90 x 12mm |  | 85 x 85 x 40mm
① | Area name 1
② | Area name 2
③ | Area name 3
④ | Area name 4
⑤ | Area name 5
⑥ | Area name 6
⑦ | Area name 7
⑧ | Area name 8
⑨ | Area name 9
⑩ | Area name 10
⑪ | Area name 11
⑫ | Area name 12
TOTAL |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0